|  | GAS ANALYSIS SUMMARY | VISIT US ON THE WEB AT WWW.NOVA-GAS.COM USA: (800) 295-3771 / FAX (716) 282-2937 CANADA: (905) 545-4248 |
| --- | --- | --- |
| DATE: |  | PHONE: |  |
| NAME, TITLE: |  | FAX: |  |
| COMPANY: |  | E-MAIL: |  |
| ADDRESS: |  | IS ANALYZER TO BE RE-SOLD? |
| PURPOSE OF INQUIRY: | Feasibility |  | BUDGETARY |  | COMPETITIVE BID |  | IMMEDIATE PURCHASE |  |
| Is this a PRODUCTION application? |  | Or, is this a RESEARCH & DEVELOPMENT application? |  |
| Do you require INTERMITTENT- PORTABLE equipment? |  | Or, do you require PERMANENT- CONTINUOUS equipment? |  |
| What type of equipment is currently being used in this application: NEW, NOVA, OTHER: ____________________ | Do you use Nova equipment in similar applications? |  |

DESCRIPTION OF YOUR PROCESS (provide as much detail as possible; include any fuels being burnt):

| GASES IN SAMPLE STREAM: |  | LOW: | NORMAL: | HIGH: | MEASUREMENT OF THIS GAS IS REQUIRED? | WHAT RANGE IS REQUIRED? |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | (Indicate values in ppm or %) |  |  |
| WATER VAPOR AT OPERATING TEMP & PRES.: |  |  |  |  |  |
| TEMPERATURE AT SAMPLE POINT °F/°C: |  |  |  |  |  |
| PRESSURE AT SAMPLE POINT (STATE UNITS): |  |  |  |  |  |
| PARTICULATE (DUST, ETC) LOADING / SIZE: |  |  |  |  |  |
| IS SAMPLE VENTED TO ATMOSPHERE OR RETURNED TO PROCESS? |  |
| IF RETURNED TO PROCESS, AT WHAT PRESSURE? (STATE UNITS) |  |

| OUTPUTS AND OPTIONS: |
| --- |
| ANALOG OUTPUTS REQ’D: (state voltage or mA) |  | ISOLATED OUTPUTS REQUIRED? |  |
| SERIAL OUTPUTS REQ’D: (state type required) |  |
| CALIBRATION CONTROL: | AUTOMATIC |  | MANUAL |  |
| DIAGNOSTIC ALARMS: | LO FLOW |  | HI VAC |  | OTHER? |  |
| GAS ALARMS REQ’D: | HI | HI / HI | LO | LO / LO |
| WHAT ALARM SET POINTS ARE REQ’D? |  |  |  |  |  |  |

| SITE INFORMATION: |
| --- |
| AVAILABLE POWER: |  | ELEVATION ABOVE SEA-LEVEL (STATE UNITS): |  |
| AREA RATING: | NON-HAZARDOUS? | HAZARDOUS?: | CLASS |  | DIV |  | GROUP |  |
|  |  | CENELEC ZONE: | OTHER: |  |
| ANALYZER LOCATION: | INDOOR or OUTDOOR? | IN DIRECT SUN? | AMBIENT TEMP RANGE: | TO °f/°c |

ANALYSIS FORM & LOGO COPYRIGHT © 2008 NOVA ANALYTICAL SYSTEMS INC.